Rubbermaid Medical Solutions

Cabinet Interface Software Installation

Revised February 25, 2010

INSTALLING Cabinet INTERFACE SOFTWARE

Preparation (If USB device has been installed previously, If not skip to installation section):

- Uninstall any previous drivers that may have been installed for the USB task light.

- Start > Control Panel > System

- Click on the Hardware tab

- Select the Device Manager button

- Scroll down to Ports (Com & LTP)  Look for a device named AT90USBxxx CDC USB to UART MGM (Com XX)      **See note below**

- Double click on this device and click the driver tab at the top.

- Click Uninstall driver and accept the removal.

- Restart Computer.

Note** - if the drivers did not install correctly the first time it may be listed in the “Other” device list usually indicated with a yellow Asterisk symbol.

Configuration of Software preferences:

Installation (Do not plug USB cable in at this point):

- Run RubbermaidLCDSecureIT.exe setup file.

- Once installation is complete plug in USB to an open port and wait for driver request.

- The USB Driver is located within the files provided (at90usbxxx_cdc.inf)

- After the USB drivers have been installed you can setup the software preferences. (see below)

Software Setup:

There are 4 options that are available when the keyboard is closed:

- None (No action taken)

- Immediate Blank Screen

- Immediate Screen Saver (Select On resume, Password protect under screen saver options if user id and password is required)

- Immediate lock computer screen

You can adjust the duration of time the light will stay on at any given instance. (Default is 5 minutes)

The password section is not applicable in this situation (Non-Locking Cabinets).

Shutdown the software:

Upper right-hand corner is a “shutdown” button to completely close the software. If you close the window it will be minimized to the system tray.